## Pricing
REGION | Pricing Summary Review Worksheet - Version 5/30/25 |  |  | STANDARD WAGES ACTIVE | [5 empty] | PREVAILING WAGES ACTIVE
N2 | <-- See 'Map' Tab for Reference | Measure / Package |  | Line Item Only Pricing Fully Loaded (Rounded to the nearest 10 cents to eliminate half cent rounding issue when splitting measures 50/50 with utilities) |  |  | Package Pricing Line Item + Ancillary Components See PKG tabs for Details |  |  | Line Item Only Pricing Fully Loaded (Rounded to the nearest 10 cents to eliminate half cent rounding issue when splitting measures 50/50 with utilities) |  |  | Package Pricing Line Item + Ancillary Components See PKG tabs for Details
Package | Category | Description | Unit | Material | Labor | Total | Material | Labor | Total | Material | Labor | Total | Material | Labor | Total
No | BASE | Advanced Power Strip - 7 Plug Unit | Each | 23.9 | 3.5 | 27.4 | -- | -- | -- | 23.9 | 6.1 | 30 | -- | -- | --
No | BASE | Ceiling Fan w/ Lights (Energy Star) | Each | 202.8 | 157.6 | 360.4 | -- | -- | -- | 202.8 | 276.5 | 479.3 | -- | -- | --
No | BASE | Ceiling Fan w/o Lights (Energy Star) | Each | 224.2 | 138.5 | 362.7 | -- | -- | -- | 224.2 | 246.9 | 471.1 | -- | -- | --
No | BASE | Dome Light Fixture w/ pull chain - Energy Star Rated | Each | 40.9 | 28.8 | 69.7 | -- | -- | -- | 40.9 | 51.8 | 92.7 | -- | -- | --
No | BASE | Faucet Aerator - Kitchen (Swivel, 1.5 gpm) | Each | 13.2 | 25.4 | 38.6 | -- | -- | -- | 13.2 | 48 | 61.2 | -- | -- | --
No | BASE | Faucet Aerator (1.5 gpm) | Each | 6.2 | 23 | 29.2 | -- | -- | -- | 6.2 | 42 | 48.2 | -- | -- | --
No | BASE | Hand Held Low Flow Showerhead (2.0 gpm) | Each | 30.2 | 39.2 | 69.4 | -- | -- | -- | 30.2 | 66.1 | 96.3 | -- | -- | --
No | BASE | LED- 25W Equiv Cand | Each | 3.2 | 5 | 8.2 | -- | -- | -- | 3.2 | 9.5 | 12.7 | -- | -- | --
No | BASE | LED- 25W Equiv Cand (Dim) | Each | 3.6 | 5 | 8.6 | -- | -- | -- | 3.6 | 9.5 | 13.1 | -- | -- | --
No | BASE | LED- 40W Equiv (Globe) | Each | 5.3 | 5 | 10.3 | -- | -- | -- | 5.3 | 9.5 | 14.8 | -- | -- | --
No | BASE | LED- 40W Equiv (Std) | Each | 2.9 | 5 | 7.9 | -- | -- | -- | 2.9 | 9.5 | 12.4 | -- | -- | --
No | BASE | LED- 40W Equiv Cand | Each | 4.4 | 5 | 9.4 | -- | -- | -- | 4.4 | 9.5 | 13.9 | -- | -- | --
No | BASE | LED- 40W Equiv Std (Dim) | Each | 3.5 | 5 | 8.5 | -- | -- | -- | 3.5 | 9.5 | 13 | -- | -- | --
No | BASE | LED- 60W Equiv (Dim) | Each | 2.9 | 5 | 7.9 | -- | -- | -- | 2.9 | 9.5 | 12.4 | -- | -- | --
No | BASE | LED- 60W Equiv (Std) | Each | 1.9 | 5 | 6.9 | -- | -- | -- | 1.9 | 9.5 | 11.4 | -- | -- | --
No | BASE | LED- 65W Equiv Flood | Each | 4.5 | 5 | 9.5 | -- | -- | -- | 4.5 | 9.5 | 14 | -- | -- | --
No | BASE | LED- 65W Equiv Flood (Dim) | Each | 4.9 | 5 | 9.9 | -- | -- | -- | 4.9 | 9.5 | 14.4 | -- | -- | --
No | BASE | LED- 75W Equiv (Dim) | Each | 4 | 5 | 9 | -- | -- | -- | 4 | 9.5 | 13.5 | -- | -- | --
No | BASE | LED- 75W Equiv (Std) | Each | 3 | 5 | 8 | -- | -- | -- | 3 | 9.5 | 12.5 | -- | -- | --
No | BASE | LED- 85W Equiv Flood | Each | 13.6 | 5 | 18.6 | -- | -- | -- | 13.6 | 9.5 | 23.1 | -- | -- | --
No | BASE | LED- 85W Equiv Flood (Dim) | Each | 10.1 | 5 | 15.1 | -- | -- | -- | 10.1 | 9.5 | 19.6 | -- | -- | --
No | BASE | LED-100W Equiv (Std) | Each | 4.1 | 5 | 9.1 | -- | -- | -- | 4.1 | 9.5 | 13.6 | -- | -- | --
No | BASE | LED-120W Equiv Flood | Each | 12.8 | 5 | 17.8 | -- | -- | -- | 12.8 | 9.5 | 22.3 | -- | -- | --
No | BASE | LED-120W Equiv Flood (Dim) | Each | 10.7 | 5 | 15.7 | -- | -- | -- | 10.7 | 9.5 | 20.2 | -- | -- | --
No | BASE | Low Flow Showerhead - Chrome Finish (2.0 gpm) | Each | 50.5 | 39.2 | 89.7 | -- | -- | -- | 50.5 | 66.1 | 116.6 | -- | -- | --
No | BASE | Low Flow Showerhead - White Finish (2.0 gpm) | Each | 18.7 | 39.2 | 57.9 | -- | -- | -- | 18.7 | 66.1 | 84.8 | -- | -- | --
No | DOOR | Barrel Bolt - 2" | Each | 5.3 | 21.7 | 27 | -- | -- | -- | 5.3 | 44.3 | 49.6 | -- | -- | --
No | DOOR | Door Bottom w/Drip Cap - 1 3/8" X 36" | Each | 23.5 | 20.9 | 44.4 | -- | -- | -- | 23.5 | 42.8 | 66.3 | -- | -- | --
No | DOOR | Door Hinge Set | Set | 10.8 | 35.8 | 46.6 | -- | -- | -- | 10.8 | 72.2 | 83 | -- | -- | --
No | DOOR | Door Modernization Kit | Set | 23.8 | 62.5 | 86.3 | -- | -- | -- | 23.8 | 119.7 | 143.5 | -- | -- | --
No | DOOR | Door Sweep - 36" Triple Flange | Each | 13.5 | 27.5 | 41 | -- | -- | -- | 13.5 | 55.3 | 68.8 | -- | -- | --
No | DOOR | Exterior Door Reinforcement Kit | Each | 41.5 | 32.9 | 74.4 | -- | -- | -- | 41.5 | 62.8 | 104.3 | -- | -- | --
No | DOOR | Eye Hook - 2" | Each | 2.1 | 10.9 | 13 | -- | -- | -- | 2.1 | 21.9 | 24 | -- | -- | --
No | DOOR | Interior Pre-Hung HC Door - 30" X 80" | Each | 136 | 101.6 | 237.6 | -- | -- | -- | 136 | 207.3 | 343.3 | -- | -- | --
No | DOOR | Interior Pre-Hung HC Door - 32" X 80" | Each | 168.9 | 101.6 | 270.5 | -- | -- | -- | 168.9 | 207.4 | 376.3 | -- | -- | --
No | DOOR | Interior Pre-Hung HC Door - 36" X 80" | Each | 160.8 | 103.7 | 264.5 | -- | -- | -- | 160.8 | 211.2 | 372 | -- | -- | --
No | DOOR | Lockset | Each | 35.1 | 41.6 | 76.7 | -- | -- | -- | 35.1 | 80.4 | 115.5 | -- | -- | --
No | DOOR | Lockset with Deadbolt | Set | 45.3 | 61.5 | 106.8 | -- | -- | -- | 45.3 | 121.2 | 166.5 | -- | -- | --
No | DOOR | Louvered 30" Door Slab | Each | 323.4 | 95 | 418.4 | -- | -- | -- | 323.4 | 194.1 | 517.5 | -- | -- | --
No | DOOR | M.H. Combo Entry Door - 32" X 78" | Each | 1055.2 | 134.1 | 1189.3 | -- | -- | -- | 1055.2 | 277.8 | 1333 | -- | -- | --
No | DOOR | M.H. Combo Entry Door - 34" X 76" | Each | 845.5 | 134.1 | 979.6 | -- | -- | -- | 845.5 | 277.8 | 1123.3 | -- | -- | --
No | DOOR | M.H. Entry Door - 28" X 72" | Each | 728 | 129.1 | 857.1 | -- | -- | -- | 728 | 268 | 996 | -- | -- | --
No | DOOR | M.H. Entry Door - 30" X 74" | Each | 762 | 129.1 | 891.1 | -- | -- | -- | 762 | 268 | 1030 | -- | -- | --
No | DOOR | M.H. Entry Door - 32" x 78" | Each | 611 | 129.1 | 740.1 | -- | -- | -- | 611 | 268 | 879 | -- | -- | --
No | DOOR | M.H. Entry Door - 36" X 76 | Each | 873.6 | 129.1 | 1002.7 | -- | -- | -- | 873.6 | 268 | 1141.6 | -- | -- | --
No | DOOR | M.H. Water Heater Door Vented | Each | 337.5 | 94.8 | 432.3 | -- | -- | -- | 337.5 | 192.2 | 529.7 | -- | -- | --
No | DOOR | Mechanical Door Closer | Each | 18.6 | 49.2 | 67.8 | -- | -- | -- | 18.6 | 96.7 | 115.3 | -- | -- | --
No | DOOR | Peep Site | Each | 13.1 | 20 | 33.1 | -- | -- | -- | 13.1 | 40.5 | 53.6 | -- | -- | --
No | DOOR | Pre-Hung Door (Flat Panel) - 32" X 80" | Each | 329.3 | 183.6 | 512.9 | -- | -- | -- | 329.3 | 383.5 | 712.8 | -- | -- | --
No | DOOR | Pre-Hung Door (Flat Panel) - 36" X 80" | Each | 373.9 | 216.7 | 590.6 | -- | -- | -- | 373.9 | 450 | 823.9 | -- | -- | --
No | DOOR | Pre-Hung Door (Raised Panel) - 32" X 80" | Each | 364.6 | 216.7 | 581.3 | -- | -- | -- | 364.6 | 450 | 814.6 | -- | -- | --
No | DOOR | Pre-Hung Door (Raised Panel) - 36" X 80" | Each | 392.5 | 216.7 | 609.2 | -- | -- | -- | 392.5 | 450 | 842.5 | -- | -- | --
No | DOOR | Pre-Hung Door (With Lite) - 32" X 80" | Each | 687.3 | 214.4 | 901.7 | -- | -- | -- | 687.3 | 445.7 | 1133 | -- | -- | --
No | DOOR | Pre-Hung Door (With Lite) - 36" X 80" | Each | 411.6 | 214.4 | 626 | -- | -- | -- | 411.6 | 445.7 | 857.3 | -- | -- | --
No | DOOR | Pre-Hung French Door - 60" X 80" | Each | 1915.3 | 229.5 | 2144.8 | -- | -- | -- | 1915.3 | 470.2 | 2385.5 | -- | -- | --
No | DOOR | Pre-Hung French Door - 72" X 80" | Each | 1123.9 | 229.5 | 1353.4 | -- | -- | -- | 1123.9 | 470.2 | 1594.1 | -- | -- | --
No | DOOR | Replacement Door Jamb | Each | 80.5 | 94.8 | 175.3 | -- | -- | -- | 80.5 | 193.7 | 274.2 | -- | -- | --
No | DOOR | Sliding Patio Door - 60" X 80" | Each | 1037.3 | 405.1 | 1442.4 | -- | -- | -- | 1037.3 | 828.4 | 1865.7 | -- | -- | --
No | DOOR | Sliding Patio Door - 72" X 80" | Each | 868.9 | 405.3 | 1274.2 | -- | -- | -- | 868.9 | 828.8 | 1697.7 | -- | -- | --
No | DOOR | Sliding Patio Door - 96" X 80" | Each | 1359.7 | 472.7 | 1832.4 | -- | -- | -- | 1359.7 | 978.1 | 2337.8 | -- | -- | --
No | DOOR | Steel Entry Door Slab - 32" X 80" | Each | 209.6 | 174.7 | 384.3 | -- | -- | -- | 209.6 | 365.9 | 575.5 | -- | -- | --
No | DOOR | Steel Entry Door Slab - 36" X 80" | Each | 290.7 | 174.7 | 465.4 | -- | -- | -- | 290.7 | 365.9 | 656.6 | -- | -- | --
No | DOOR | Steel Entry Door Slab - 36" X 84" | Each | 458.7 | 174.7 | 633.4 | -- | -- | -- | 458.7 | 365.9 | 824.6 | -- | -- | --
No | DOOR | Strike Plate | Each | 8.3 | 17.4 | 25.7 | -- | -- | -- | 8.3 | 33.8 | 42.1 | -- | -- | --
No | DOOR | Threshold - Aluminum Bumper | Each | 23.6 | 27.5 | 51.1 | -- | -- | -- | 23.6 | 54.9 | 78.5 | -- | -- | --
No | DOOR | Threshold - Aluminum High Boy | Each | 41.2 | 33.3 | 74.5 | -- | -- | -- | 41.2 | 66.9 | 108.1 | -- | -- | --
No | DOOR | Threshold - Aluminum Low Boy | Each | 28.4 | 33.3 | 61.7 | -- | -- | -- | 28.4 | 66.9 | 95.3 | -- | -- | --
No | DOOR | Threshold - Oak | Each | 32 | 70.2 | 102.2 | -- | -- | -- | 32 | 143.1 | 175.1 | -- | -- | --
No | DOOR | Wrap Exterior Trim with Aluminum per Door | Each | 34.3 | 124.7 | 159 | -- | -- | -- | 34.3 | 261.7 | 296 | -- | -- | --
No | DOOR | Wrap Exterior Trim with Aluminum per Sliding Door | Each | 37.9 | 129 | 166.9 | -- | -- | -- | 37.9 | 270.7 | 308.6 | -- | -- | --
No | DOOR | WxStrip Kit - 1 3/8" PVC Nail Flange | Set | 18.8 | 35.6 | 54.4 | -- | -- | -- | 18.8 | 70.7 | 89.5 | -- | -- | --
No | DOOR | WxStrip Kit - Extruded Aluminum Flange | Set | 41.8 | 33.1 | 74.9 | -- | -- | -- | 41.8 | 65.3 | 107.1 | -- | -- | --
No | DOOR | WxStrip Kit - Pre-Hung Replacement | Set | 17.7 | 39.5 | 57.2 | -- | -- | -- | 17.7 | 79.1 | 96.8 | -- | -- | --
No | ELEC | AFCI Receptacle | Each | 32.6 | 42 | 74.6 | -- | -- | -- | 32.6 | 74.7 | 107.3 | -- | -- | --
No | ELEC | Breaker Box - 100 amp | Each | 178.3 | 707.8 | 886.1 | -- | -- | -- | 178.3 | 1194.2 | 1372.5 | -- | -- | --
No | ELEC | Breaker Box - 200 amp | Each | 238.9 | 1171.5 | 1410.4 | -- | -- | -- | 238.9 | 1949.9 | 2188.8 | -- | -- | --
No | ELEC | Circuit Breaker - Double Pole | Each | 29.2 | 51.4 | 80.6 | -- | -- | -- | 29.2 | 84.5 | 113.7 | -- | -- | --
No | ELEC | Circuit Breaker - Single Pole | Each | 10.1 | 41.3 | 51.4 | -- | -- | -- | 10.1 | 68.1 | 78.2 | -- | -- | --
No | ELEC | Conduit (Metal) - 1/2" per Foot | Foot | 0.8 | 4.5 | 5.3 | -- | -- | -- | 0.8 | 7.9 | 8.7 | -- | -- | --
No | ELEC | Conduit (Metal) - 3/4" per Foot | Foot | 1.3 | 5 | 6.3 | -- | -- | -- | 1.3 | 8.7 | 10 | -- | -- | --
No | ELEC | Elec Wire - 6-2 w/ground per foot | Foot | 3.2 | 1.2 | 4.4 | -- | -- | -- | 3.2 | 2.2 | 5.4 | -- | -- | --
No | ELEC | Elec Wire - 10-2 w/ground per foot | Foot | 1.4 | 1 | 2.4 | -- | -- | -- | 1.4 | 1.8 | 3.2 | -- | -- | --
No | ELEC | Elec Wire - 12-2 BX w/ground per foot | Foot | 1 | 2.1 | 3.1 | -- | -- | -- | 1 | 3.5 | 4.5 | -- | -- | --
No | ELEC | Elec Wire - 12-2 w/ground per foot | Foot | 1 | 1 | 2 | -- | -- | -- | 1 | 1.8 | 2.8 | -- | -- | --
No | ELEC | Elec Wire - 12-3 BX w/ground per foot | Foot | 1.6 | 2.3 | 3.9 | -- | -- | -- | 1.6 | 3.8 | 5.4 | -- | -- | --
No | ELEC | Elec Wire - 12-3 w/ground per foot | Foot | 1.4 | 1 | 2.4 | -- | -- | -- | 1.4 | 1.8 | 3.2 | -- | -- | --
No | ELEC | Elec Wire - 14-2 w/ground per foot | Foot | 0.8 | 1 | 1.8 | -- | -- | -- | 0.8 | 1.7 | 2.5 | -- | -- | --
No | ELEC | Elec Wire - 14-3 w/ ground per foot | Foot | 0.6 | 1 | 1.6 | -- | -- | -- | 0.6 | 1.7 | 2.3 | -- | -- | --
No | ELEC | Elec Wire - 14-4 BX w/ground per foot | Foot | 2.6 | 2.2 | 4.8 | -- | -- | -- | 2.6 | 3.6 | 6.2 | -- | -- | --
No | ELEC | GFCI Receptacle | Each | 29.1 | 30.9 | 60 | -- | -- | -- | 29.1 | 52.6 | 81.7 | -- | -- | --
No | ELEC | GFCI Receptacle/Switch Combo | Each | 38.6 | 39.9 | 78.5 | -- | -- | -- | 38.6 | 69.6 | 108.2 | -- | -- | --
No | ELEC | Junction Box | Each | 3.7 | 42.8 | 46.5 | -- | -- | -- | 3.7 | 77 | 80.7 | -- | -- | --
No | ELEC | Junction Box Cover | Each | 1.4 | 7.2 | 8.6 | -- | -- | -- | 1.4 | 12.3 | 13.7 | -- | -- | --
No | ELEC | Receptacle | Each | 1.6 | 17.7 | 19.3 | -- | -- | -- | 1.6 | 31.9 | 33.5 | -- | -- | --
No | ELEC | Receptacle Cover Plate | Each | 0.8 | 4.8 | 5.6 | -- | -- | -- | 0.8 | 8.2 | 9 | -- | -- | --
No | ELEC | Receptacle Cover Plate - Double | Each | 2.3 | 7.5 | 9.8 | -- | -- | -- | 2.3 | 12.5 | 14.8 | -- | -- | --
No | ELEC | Switch - 2 Pole | Each | 9.4 | 43.4 | 52.8 | -- | -- | -- | 9.4 | 74 | 83.4 | -- | -- | --
No | ELEC | Switch - Single Pole | Each | 1.9 | 24.6 | 26.5 | -- | -- | -- | 1.9 | 42.3 | 44.2 | -- | -- | --
No | ELEC | Switch and Receptable Cover - Blank | Each | 1.1 | 7.2 | 8.3 | -- | -- | -- | 1.1 | 12.1 | 13.2 | -- | -- | --
No | ELEC | Switch and Receptacle Cover | Each | 2.2 | 7.2 | 9.4 | -- | -- | -- | 2.2 | 12.1 | 14.3 | -- | -- | --
No | ELEC | Switch Box | Each | 2.9 | 42.7 | 45.6 | -- | -- | -- | 2.9 | 74.4 | 77.3 | -- | -- | --
No | ELEC | Switch Plate | Each | 0.7 | 4.8 | 5.5 | -- | -- | -- | 0.7 | 8.2 | 8.9 | -- | -- | --
No | ELEC | Switch Plate - Double | Each | 2 | 7.5 | 9.5 | -- | -- | -- | 2 | 12.5 | 14.5 | -- | -- | --
No | HLSF | C.O. Detector | Each | 53.7 | 37 | 90.7 | -- | -- | -- | 53.7 | 65.9 | 119.6 | -- | -- | --
No | HLSF | C.O. Detector - Hardwired | Each | 98.2 | 79.4 | 177.6 | -- | -- | -- | 98.2 | 139.4 | 237.6 | -- | -- | --
No | HLSF | Damper Vent - Eave 4" | Each | 11.7 | 74.9 | 86.6 | -- | -- | -- | 11.7 | 135.5 | 147.2 | -- | -- | --
No | HLSF | Damper Vent - Eave 6" | Each | 19.2 | 74.9 | 94.1 | -- | -- | -- | 19.2 | 135.5 | 154.7 | -- | -- | --
No | HLSF | Damper Vent - Sidewall 4" | Each | 23.5 | 74.9 | 98.4 | -- | -- | -- | 23.5 | 135.5 | 159 | -- | -- | --
No | HLSF | Damper Vent - Sidewall 6" | Each | 24.2 | 74.9 | 99.1 | -- | -- | -- | 24.2 | 135.5 | 159.7 | -- | -- | --
No | HLSF | Door Transfer Grill, Return Air Pathway (R.A.P.) | Each | 57.8 | 108.4 | 166.2 | -- | -- | -- | 57.8 | 227.9 | 285.7 | -- | -- | --
No | HLSF | Downspouts 2"X 3" | Per Foot | 2.5 | 4.5 | 7 | -- | -- | -- | 2.5 | 7.6 | 10.1 | -- | -- | --
No | HLSF | Downspouts 3"X 4" | Per Foot | 2.2 | 4.9 | 7.1 | -- | -- | -- | 2.2 | 8.2 | 10.4 | -- | -- | --
No | HLSF | Downspouts 4" X 5" | Per Foot | 9.9 | 4.9 | 14.8 | -- | -- | -- | 9.9 | 8.2 | 18.1 | -- | -- | --
No | HLSF | Dryer Vent Hood (with louver) | Each | 14.2 | 24.4 | 38.6 | -- | -- | -- | 14.2 | 43 | 57.2 | -- | -- | --
No | HLSF | Dryer Vent Hose Kit (Semi-Rigid) | Each | 15.9 | 21.9 | 37.8 | -- | -- | -- | 15.9 | 34.6 | 50.5 | -- | -- | --
No | HLSF | Dryer Vent Kit - Includes Term and Semi-Rigid Vent | Each | 30.7 | 73.2 | 103.9 | -- | -- | -- | 30.7 | 140 | 170.7 | -- | -- | --
No | HLSF | Eave Term Kit - Bath Fan 4" | Each | 15 | 98.8 | 113.8 | -- | -- | -- | 15 | 185.1 | 200.1 | -- | -- | --
No | HLSF | Eave Term Kit - Bath Fan 6" | Each | 19.9 | 98.8 | 118.7 | -- | -- | -- | 19.9 | 185.1 | 205 | -- | -- | --
No | HLSF | Fire Extinguisher (ABC) | Each | 59.5 | 25.9 | 85.4 | -- | -- | -- | 59.5 | 51.2 | 110.7 | -- | -- | --
No | HLSF | Gutter 5" | Foot | 1.7 | 6 | 7.7 | -- | -- | -- | 1.7 | 9.8 | 11.5 | -- | -- | --
No | HLSF | Insul-shield | Foot | 2.2 | 6.2 | 8.4 | -- | -- | -- | 2.2 | 11.3 | 13.5 | -- | -- | --
No | HLSF | Intumescent Coating Paint | Sq. Foot | 0.7 | 0.9 | 1.6 | -- | -- | -- | 0.7 | 1.5 | 2.2 | -- | -- | --
No | HLSF | Intumescent Coating Paint 5 gallon | Each | 477.1 | 608.2 | 1085.3 | -- | -- | -- | 477.1 | 1197.8 | 1674.9 | -- | -- | --
No | HLSF | Intumescent Coating Paint gallon | Each | 124.3 | 125.2 | 249.5 | -- | -- | -- | 124.3 | 246 | 370.3 | -- | -- | --
No | HLSF | Plastic Gutter Splash Blocks | Each | 11.2 | 15.8 | 27 | -- | -- | -- | 11.2 | 32.9 | 44.1 | -- | -- | --
No | HLSF | Smoke Detector | Each | 27.3 | 31.7 | 59 | -- | -- | -- | 27.3 | 57.5 | 84.8 | -- | -- | --
No | HLSF | Smoke Detector - Hardwire | Each | 51.3 | 44.8 | 96.1 | -- | -- | -- | 51.3 | 80.7 | 132 | -- | -- | --
No | HLSF | Smoke Detector - Hearing Impaired | Each | 143.1 | 44.8 | 187.9 | -- | -- | -- | 143.1 | 80.7 | 223.8 | -- | -- | --
No | HLSF | Smoke/C.O. Detector Combo | Each | 64.4 | 39.1 | 103.5 | -- | -- | -- | 64.4 | 71.3 | 135.7 | -- | -- | --
No | HLSF | Smoke/C.O. Detector Combo - Hardwired | Each | 62.9 | 78 | 140.9 | -- | -- | -- | 62.9 | 136.5 | 199.4 | -- | -- | --
No | HLSF | Vapor Barrier Tape | Foot | 0.2 | 2.6 | 2.8 | -- | -- | -- | 0.2 | 5.2 | 5.4 | -- | -- | --
No | HLSF | Vapor Barrier Tape (180 ft.) | Each | 37.4 | 474.2 | 511.6 | -- | -- | -- | 37.4 | 943.9 | 981.3 | -- | -- | --
No | HLSF | Visqueen 10 mil (Black or clear) - Sq Ft | Roll | 0.1 | 0.9 | 1 | -- | -- | -- | 0.1 | 1.8 | 1.9 | -- | -- | --
No | HLSF | Visqueen 6 mil (Black or clear) - Sq Ft | Sq. Foot | 0.1 | 0.9 | 1 | -- | -- | -- | 0.1 | 1.8 | 1.9 | -- | -- | --
No | INSL | Attic Ventilation Baffles | Each | 3.3 | 6.3 | 9.6 | -- | -- | -- | 3.3 | 12.9 | 16.2 | -- | -- | --
No | INSL | Cellulose Dense Pack - R-13 | Sq. Foot | 0.8 | 3.4 | 4.2 | -- | -- | -- | 0.8 | 8.7 | 9.5 | -- | -- | --
No | INSL | Cellulose Dense Pack - R-19 | Sq. Foot | 1.1 | 4.1 | 5.2 | -- | -- | -- | 1.1 | 10.6 | 11.7 | -- | -- | --
No | INSL | Cellulose Open Blow - R-11 | Sq. Foot | 0.2 | 0.8 | 1 | -- | -- | -- | 0.2 | 1.6 | 1.8 | -- | -- | --
No | INSL | Cellulose Open Blow - R-19 | Sq. Foot | 0.4 | 0.9 | 1.3 | -- | -- | -- | 0.4 | 1.8 | 2.2 | -- | -- | --
No | INSL | Cellulose Open Blow - R-30 | Sq. Foot | 0.8 | 1.1 | 1.9 | -- | -- | -- | 0.8 | 2.2 | 3 | -- | -- | --
No | INSL | Cellulose Open Blow - R-40 | Sq. Foot | 1.1 | 1.3 | 2.4 | -- | -- | -- | 1.1 | 2.6 | 3.7 | -- | -- | --
No | INSL | Cellulose Open Blow - R-49 | Sq. Foot | 1.4 | 1.5 | 2.9 | -- | -- | -- | 1.4 | 3 | 4.4 | -- | -- | --
No | INSL | FG Batt Faced - 15" wide R-13 | Sq. Foot | 0.6 | 1.1 | 1.7 | -- | -- | -- | 0.6 | 2.4 | 3 | -- | -- | --
No | INSL | FG Batt Faced - 15" wide R-19 | Sq. Foot | 1 | 1.1 | 2.1 | -- | -- | -- | 1 | 2.4 | 3.4 | -- | -- | --
No | INSL | FG Batt Faced - 23" wide R-13 | Sq. Foot | 1 | 1.1 | 2.1 | -- | -- | -- | 1 | 2.4 | 3.4 | -- | -- | --
No | INSL | FG Batt Faced - 23" wide R-19 | Sq. Foot | 0.9 | 1.1 | 2 | -- | -- | -- | 0.9 | 2.4 | 3.3 | -- | -- | --
No | INSL | FG Batt Faced - 23" wide R-30 | Sq. Foot | 1.6 | 1.2 | 2.8 | -- | -- | -- | 1.6 | 2.5 | 4.1 | -- | -- | --
No | INSL | FG Batt Un-Faced - 15" wide R-13 | Sq. Foot | 0.7 | 0.9 | 1.6 | -- | -- | -- | 0.7 | 1.9 | 2.6 | -- | -- | --
No | INSL | FG Batt Un-Faced - 15" wide R-15 | Sq. Foot | 1 | 0.9 | 1.9 | -- | -- | -- | 1 | 1.9 | 2.9 | -- | -- | --
No | INSL | FG Batt Un-Faced - 15" wide R-19 | Sq. Foot | 0.9 | 0.9 | 1.8 | -- | -- | -- | 0.9 | 2 | 2.9 | -- | -- | --
No | INSL | FG Batt Un-Faced - 23" wide R-13 | Sq. Foot | 0.6 | 1.1 | 1.7 | -- | -- | -- | 0.6 | 2.1 | 2.7 | -- | -- | --
No | INSL | FG Batt Un-Faced - 23" wide R-15 | Sq. Foot | 1.2 | 0.9 | 2.1 | -- | -- | -- | 1.2 | 1.9 | 3.1 | -- | -- | --
No | INSL | FG Batt Un-Faced - 23" wide R-19 | Sq. Foot | 1 | 1 | 2 | -- | -- | -- | 1 | 2.1 | 3.1 | -- | -- | --
No | INSL | FG Batt Un-Faced - 23" wide R-30 | Sq. Foot | 1.6 | 0.9 | 2.5 | -- | -- | -- | 1.6 | 1.9 | 3.5 | -- | -- | --
No | INSL | Fiberglass Basement Blanket Vinyl Faced, 48" x 75" (R-13) | Each | 226 | 14.2 | 240.2 | -- | -- | -- | 226 | 29.1 | 255.1 | -- | -- | --
No | INSL | Fiberglass Dense Pack - R-11 | Sq. Foot | 1.3 | 2.3 | 3.6 | -- | -- | -- | 1.3 | 4.4 | 5.7 | -- | -- | --
No | INSL | Fiberglass Dense Pack - R-19 | Sq. Foot | 2.3 | 2.7 | 5 | -- | -- | -- | 2.3 | 5.1 | 7.4 | -- | -- | --
No | INSL | Fiberglass Open Blow - R-11 | Sq. Foot | 0.3 | 0.8 | 1.1 | -- | -- | -- | 0.3 | 1.5 | 1.8 | -- | -- | --
No | INSL | Fiberglass Open Blow - R-19 | Sq. Foot | 0.6 | 0.9 | 1.5 | -- | -- | -- | 0.6 | 1.7 | 2.3 | -- | -- | --
No | INSL | Fiberglass Open Blow - R-30 | Sq. Foot | 0.9 | 1.2 | 2.1 | -- | -- | -- | 0.9 | 2.3 | 3.2 | -- | -- | --
No | INSL | Fiberglass Open Blow - R-40 | Sq. Foot | 1.3 | 1.6 | 2.9 | -- | -- | -- | 1.3 | 3 | 4.3 | -- | -- | --
No | INSL | Fiberglass Open Blow - R-49 | Sq. Foot | 1.6 | 1.8 | 3.4 | -- | -- | -- | 1.6 | 3.3 | 4.9 | -- | -- | --
No | INSL | FSK Paper | Sq. Foot | 0.2 | 0.4 | 0.6 | -- | -- | -- | 0.2 | 0.8 | 1 | -- | -- | --
No | INSL | Phenolic Foam - 1 1/2" | Sq. Foot | 0.5 | 2.4 | 2.9 | -- | -- | -- | 0.5 | 5.9 | 6.4 | -- | -- | --
No | INSL | Phenolic Foam - 3/4" | Sq. Foot | 0.2 | 2.4 | 2.6 | -- | -- | -- | 0.2 | 5.9 | 6.1 | -- | -- | --
No | INSL | Rigid Foam Board Extruded - 1" Sq Ft | Sq. Foot | 1.1 | 1.7 | 2.8 | -- | -- | -- | 1.1 | 3.4 | 4.5 | -- | -- | --
No | INSL | Rigid Foam Board Extruded - 2" Sq Ft | Sq. Foot | 2 | 1.9 | 3.9 | -- | -- | -- | 2 | 3.9 | 5.9 | -- | -- | --
No | INSL | Rigid Foam Board Polyiso - 1" Sq Ft | Sq. Foot | 1.1 | 1.8 | 2.9 | -- | -- | -- | 1.1 | 3.8 | 4.9 | -- | -- | --
No | INSL | Rigid Foam Board Polyiso - 2" Sq Ft | Sq. Foot | 1.9 | 1.9 | 3.8 | -- | -- | -- | 1.9 | 3.9 | 5.8 | -- | -- | --
No | INSL | Two Part Foam Closed Cell (Intumescent) 1" R7 | Sq. Foot | 1.2 | 0.9 | 2.1 | -- | -- | -- | 1.2 | 1.8 | 3 | -- | -- | --
No | INSL | Two Part Foam Closed Cell (Intumescent) 1.5" R11 | Sq. Foot | 1.8 | 1.2 | 3 | -- | -- | -- | 1.8 | 2.2 | 4 | -- | -- | --
No | INSL | Two Part Foam Closed Cell (Intumescent) 1/2" A.S. Skim Coat) | Sq. Foot | 0.6 | 0.3 | 0.9 | -- | -- | -- | 0.6 | 0.5 | 1.1 | -- | -- | --
No | INSL | Two Part Foam Closed Cell (Intumescent) 2" R14 | Sq. Foot | 2.4 | 1.6 | 4 | -- | -- | -- | 2.4 | 2.8 | 5.2 | -- | -- | --
No | INSL | Two Part Foam Closed Cell (Intumescent) 3" R21 | Sq. Foot | 3.5 | 2.1 | 5.6 | -- | -- | -- | 3.5 | 3.6 | 7.1 | -- | -- | --
No | INSL | Underbelly Fiberglass Dense Pack (1.5 lbs. per cubic foot) - R-19 | Sq. Foot | 1.6 | 1.2 | 2.8 | -- | -- | -- | 1.6 | 2.4 | 4 | -- | -- | --
No | INSL | Underbelly Fiberglass Dense Pack (1.5 lbs. per cubic foot) - R-30 | Sq. Foot | 2.1 | 1.5 | 3.6 | -- | -- | -- | 2.1 | 3 | 5.1 | -- | -- | --
No | INSL | Wall Plug - 1" | Each | 0.3 | 2.2 | 2.5 | -- | -- | -- | 0.3 | 4.3 | 4.6 | -- | -- | --
No | INSL | Wall Plug - 2" | Each | 0.6 | 2.2 | 2.8 | -- | -- | -- | 0.6 | 4.3 | 4.9 | -- | -- | --
No | LUMB | 1' X 2" | Foot | 0.2 | 1.4 | 1.6 | -- | -- | -- | 0.2 | 2.9 | 3.1 | -- | -- | --
No | LUMB | 1" X 10" | Foot | 2.3 | 2 | 4.3 | -- | -- | -- | 2.3 | 4.2 | 6.5 | -- | -- | --
No | LUMB | 1" X 12" | Foot | 2.4 | 2 | 4.4 | -- | -- | -- | 2.4 | 4.2 | 6.6 | -- | -- | --
No | LUMB | 1" X 4" | Foot | 0.7 | 1.8 | 2.5 | -- | -- | -- | 0.7 | 3.7 | 4.4 | -- | -- | --
No | LUMB | 1" X 4" TREATED | Foot | 0.7 | 1.8 | 2.5 | -- | -- | -- | 0.7 | 3.8 | 4.5 | -- | -- | --
No | LUMB | 1" X 6" | Foot | 1.1 | 1.8 | 2.9 | -- | -- | -- | 1.1 | 3.9 | 5 | -- | -- | --
No | LUMB | 1" X 6" TREATED | Foot | 0.9 | 1.8 | 2.7 | -- | -- | -- | 0.9 | 3.9 | 4.8 | -- | -- | --
No | LUMB | 1" X 8" | Foot | 1.4 | 1.9 | 3.3 | -- | -- | -- | 1.4 | 4 | 5.4 | -- | -- | --
No | LUMB | 2" X 10" | Foot | 1.5 | 1.9 | 3.4 | -- | -- | -- | 1.5 | 4 | 5.5 | -- | -- | --
No | LUMB | 2" X 10" TREATED | Foot | 2.3 | 2 | 4.3 | -- | -- | -- | 2.3 | 4.2 | 6.5 | -- | -- | --
No | LUMB | 2" X 12" | Foot | 2.1 | 2 | 4.1 | -- | -- | -- | 2.1 | 4.2 | 6.3 | -- | -- | --
No | LUMB | 2" X 12" TREATED | Foot | 3.3 | 2 | 5.3 | -- | -- | -- | 3.3 | 4.2 | 7.5 | -- | -- | --
No | LUMB | 2" X 4" | Foot | 0.5 | 1.8 | 2.3 | -- | -- | -- | 0.5 | 3.8 | 4.3 | -- | -- | --
No | LUMB | 2" X 4" TREATED | Foot | 0.8 | 1.8 | 2.6 | -- | -- | -- | 0.8 | 3.8 | 4.6 | -- | -- | --
No | LUMB | 2" X 6" | Foot | 1.1 | 1.9 | 3 | -- | -- | -- | 1.1 | 4 | 5.1 | -- | -- | --
No | LUMB | 2" X 6" TREATED | Foot | 1.1 | 1.9 | 3 | -- | -- | -- | 1.1 | 4 | 5.1 | -- | -- | --
No | LUMB | 2" X 8" | Foot | 1.1 | 2 | 3.1 | -- | -- | -- | 1.1 | 4.1 | 5.2 | -- | -- | --
No | LUMB | 2" X 8" TREATED | Foot | 1.5 | 2 | 3.5 | -- | -- | -- | 1.5 | 4.2 | 5.7 | -- | -- | --
No | LUMB | Base Pre-Primed - 3 1/4" Colonial | Foot | 1.9 | 2.4 | 4.3 | -- | -- | -- | 1.9 | 5.1 | 7 | -- | -- | --
No | LUMB | Base Pre-Primed - 3 1/4" Ranch | Foot | 2.6 | 2.4 | 5 | -- | -- | -- | 2.6 | 5.1 | 7.7 | -- | -- | --
No | LUMB | Blind Stop - Pre-Primed | Foot | 1.2 | 1.6 | 2.8 | -- | -- | -- | 1.2 | 3.3 | 4.5 | -- | -- | --
No | LUMB | Brick Mold - Wood per Foot | Foot | 2.6 | 1.7 | 4.3 | -- | -- | -- | 2.6 | 3.4 | 6 | -- | -- | --
No | LUMB | Casing Pre-Primed - 2 1/4" Colonial | Foot | 1.1 | 1.7 | 2.8 | -- | -- | -- | 1.1 | 3.4 | 4.5 | -- | -- | --
No | LUMB | Casing Pre-Primed - 2 1/4" Ranch | Foot | 1.6 | 1.7 | 3.3 | -- | -- | -- | 1.6 | 3.4 | 5 | -- | -- | --
No | LUMB | Door Stop - Pre-Primed Colonial | Foot | 1.1 | 1.6 | 2.7 | -- | -- | -- | 1.1 | 3.3 | 4.4 | -- | -- | --
No | LUMB | Plywood 1/2" CDX - Per Sq. Ft. | Sq. Foot | 1.3 | 1.5 | 2.8 | -- | -- | -- | 1.3 | 3.5 | 4.8 | -- | -- | --
No | LUMB | Plywood 1/2" OSB - Per Sq. Ft. | Sq. Foot | 0.7 | 1.5 | 2.2 | -- | -- | -- | 0.7 | 3.4 | 4.1 | -- | -- | --
No | LUMB | Plywood 1/4" Luan - Per Sq. Ft. | Each | 0.8 | 1.5 | 2.3 | -- | -- | -- | 0.8 | 3.3 | 4.1 | -- | -- | --
No | LUMB | Plywood 3/4" CCX (Treated) - Per Sq. Ft. | Sq. Foot | 1.9 | 1.8 | 3.7 | -- | -- | -- | 1.9 | 4.1 | 6 | -- | -- | --
No | LUMB | Plywood 3/4" CDX - Per Sq. Ft. | Sq. Foot | 1.1 | 1.8 | 2.9 | -- | -- | -- | 1.1 | 4.1 | 5.2 | -- | -- | --
No | LUMB | Plywood 3/4" OSB - Per Sq. Ft. | Sq. Foot | 1 | 2.1 | 3.1 | -- | -- | -- | 1 | 4.7 | 5.7 | -- | -- | --
No | LUMB | Plywood 5/8" OSB - Per Sq. Ft. | Sq. Foot | 1 | 1.5 | 2.5 | -- | -- | -- | 1 | 3.4 | 4.4 | -- | -- | --
No | MISC | Aluminum Fascia Cover - 12' X 6" | Each | 23 | 21.4 | 44.4 | -- | -- | -- | 23 | 43.9 | 66.9 | -- | -- | --
No | MISC | Aluminum Fascia Cover - 12' X 8" | Each | 28.4 | 21.8 | 50.2 | -- | -- | -- | 28.4 | 44.8 | 73.2 | -- | -- | --
No | MISC | Aluminum Flashing - per Foot | Foot | 1.6 | 4 | 5.6 | -- | -- | -- | 1.6 | 6.2 | 7.8 | -- | -- | --
No | MISC | Aluminum Flashing - per Roll (10" x 50') | Roll | 51.6 | 165.2 | 216.8 | -- | -- | -- | 51.6 | 262 | 313.6 | -- | -- | --
No | MISC | Aluminum Flashing - per Roll (14" x 50') | Roll | 73.6 | 227.4 | 301 | -- | -- | -- | 73.6 | 353.6 | 427.2 | -- | -- | --
No | MISC | Coil Stock - per Foot | Foot | 4 | 2.7 | 6.7 | -- | -- | -- | 4 | 4.5 | 8.5 | -- | -- | --
No | MISC | Concrete Blocks (4" X 8" X 16") | Each | 2.3 | 8.6 | 10.9 | -- | -- | -- | 2.3 | 18.5 | 20.8 | -- | -- | --
No | MISC | Exterior Paint - Gallon | Each | 56.5 | 179.1 | 235.6 | -- | -- | -- | 56.5 | 335.5 | 392 | -- | -- | --
No | MISC | Exterior Paint - Quart | Each | 25.8 | 49.2 | 75 | -- | -- | -- | 25.8 | 92.9 | 118.7 | -- | -- | --
No | MISC | Gable Vent Alum - 12" X 12" | Each | 18.9 | 40.7 | 59.6 | -- | -- | -- | 18.9 | 86.7 | 105.6 | -- | -- | --
No | MISC | Gable Vent Alum - 14" X 24" | Each | 29.5 | 41.9 | 71.4 | -- | -- | -- | 29.5 | 89 | 118.5 | -- | -- | --
No | MISC | Gable Vent White - 12" X 12" | Each | 43.3 | 40.7 | 84 | -- | -- | -- | 43.3 | 86.7 | 130 | -- | -- | --
No | MISC | Gable Vent White - 14" X 24" | Each | 77.2 | 41.9 | 119.1 | -- | -- | -- | 77.2 | 89 | 166.2 | -- | -- | --
No | MISC | Interior Paint - Gallon | Each | 42.5 | 106.5 | 149 | -- | -- | -- | 42.5 | 195.9 | 238.4 | -- | -- | --
No | MISC | Interior Paint - Quart | Each | 23.6 | 32.6 | 56.2 | -- | -- | -- | 23.6 | 61.2 | 84.8 | -- | -- | --
No | MISC | Mortar Mix (per pound) | Bag | 0.2 | 4.3 | 4.5 | -- | -- | -- | 0.2 | 9.1 | 9.3 | -- | -- | --
No | MISC | Pull Down Attic Stairs | Each | 346.3 | 369.3 | 715.6 | -- | -- | -- | 346.3 | 731.4 | 1077.7 | -- | -- | --
No | MISC | Vinyl Cove Base | Per Foot | 1.2 | 2.7 | 3.9 | -- | -- | -- | 1.2 | 5.8 | 7 | -- | -- | --
No | MISC | Vinyl Siding | Each | 8.6 | 34.2 | 42.8 | -- | -- | -- | 8.6 | 74.6 | 83.2 | -- | -- | --
No | ROOF | Adjustable Roof Flashing (Chimney) | Each | 122.6 | 83.2 | 205.8 | -- | -- | -- | 122.6 | 156.2 | 278.8 | -- | -- | --
No | ROOF | Drip Edge - 10' | Each | 8.9 | 24 | 32.9 | -- | -- | -- | 8.9 | 44 | 52.9 | -- | -- | --
No | ROOF | EPDM Rubber Roofing | Sq. Foot | 2.2 | 3.1 | 5.3 | -- | -- | -- | 2.2 | 6.3 | 8.5 | -- | -- | --
No | ROOF | Roofing Paper (30 lb.) | Sq. Foot | 0.2 | 1.2 | 1.4 | -- | -- | -- | 0.2 | 2.1 | 2.3 | -- | -- | --
No | ROOF | Roofing Tar per Gallon | Each | 23.1 | 54.7 | 77.8 | -- | -- | -- | 23.1 | 129.9 | 153 | -- | -- | --
No | ROOF | Roofing Tar per Tube | Tube | 8 | 27.6 | 35.6 | -- | -- | -- | 8 | 46.3 | 54.3 | -- | -- | --
No | ROOF | Shingles - per Bundle | Each | 48 | 38.5 | 86.5 | -- | -- | -- | 48 | 84.4 | 132.4 | -- | -- | --
No | ROOF | Shingles - per Square | Each | 144 | 108.9 | 252.9 | -- | -- | -- | 144 | 224.9 | 368.9 | -- | -- | --
No | ROOF | Synthetic Roofing Underlayment - 1000 sq ft roll | Each | 124.5 | 538 | 662.5 | -- | -- | -- | 124.5 | 912.6 | 1037.1 | -- | -- | --
No | SEAL | A/C Cover - Exterior | Each | 14.7 | 8 | 22.7 | -- | -- | -- | 14.7 | 17.9 | 32.6 | -- | -- | --
No | SEAL | A/C Cover - Interior | Each | 20.1 | 8 | 28.1 | -- | -- | -- | 20.1 | 17.9 | 38 | -- | -- | --
No | SEAL | Caulk - Clear Acrylic | Tube | 4.3 | 31.3 | 35.6 | -- | -- | -- | 4.3 | 69.9 | 74.2 | -- | -- | --
No | SEAL | Caulk - Clear Silicone | Tube | 11.1 | 27.1 | 38.2 | -- | -- | -- | 11.1 | 60.5 | 71.6 | -- | -- | --
No | SEAL | Caulk - Polyurethane | Tube | 12.8 | 27.1 | 39.9 | -- | -- | -- | 12.8 | 60.5 | 73.3 | -- | -- | --
No | SEAL | Caulk - Silicone/Latex | Tube | 5.6 | 27.1 | 32.7 | -- | -- | -- | 5.6 | 60.5 | 66.1 | -- | -- | --
No | SEAL | Caulk - White Acrylic | Tube | 2.2 | 31.3 | 33.5 | -- | -- | -- | 2.2 | 69.9 | 72.1 | -- | -- | --
No | SEAL | Caulk - White Silicone | Tube | 10.8 | 27.1 | 37.9 | -- | -- | -- | 10.8 | 60.5 | 71.3 | -- | -- | --
No | SEAL | Chimney Balloon | Each | 89.7 | 21.2 | 110.9 | -- | -- | -- | 89.7 | 45.9 | 135.6 | -- | -- | --
No | SEAL | High Temp Caulk | Tube | 18.2 | 20.8 | 39 | -- | -- | -- | 18.2 | 46.9 | 65.1 | -- | -- | --
No | SEAL | House Wrap | Sq. Foot | 0.2 | 0.2 | 0.4 | -- | -- | -- | 0.2 | 0.4 | 0.6 | -- | -- | --
No | SEAL | Mobile Home Belly Tape | Linear Foot | 0.4 | 2.9 | 3.3 | -- | -- | -- | 0.4 | 5.1 | 5.5 | -- | -- | --
No | SEAL | Mobile Home Bottom Mending Material | Sq. Foot | 0.2 | 1.1 | 1.3 | -- | -- | -- | 0.2 | 2.2 | 2.4 | -- | -- | --
No | SEAL | One Part Foam (Gun Applied) - High Expansion | Each | 16.7 | 40.4 | 57.1 | -- | -- | -- | 16.7 | 93.4 | 110.1 | -- | -- | --
No | SEAL | Polyurethane Cement Sealant | Tube | 11.4 | 29.4 | 40.8 | -- | -- | -- | 11.4 | 65.9 | 77.3 | -- | -- | --
No | SEAL | Pulley Seal | Each | 4.7 | 2.6 | 7.3 | -- | -- | -- | 4.7 | 5.6 | 10.3 | -- | -- | --
No | SEAL | Putty Tape - 1/2" per Foot | Foot | 0.8 | 1.1 | 1.9 | -- | -- | -- | 0.8 | 2.2 | 3 | -- | -- | --
No | SEAL | Putty Tape - 3/16" per Foot | Foot | 0.7 | 1.1 | 1.8 | -- | -- | -- | 0.7 | 2.2 | 2.9 | -- | -- | --
No | SEAL | Putty Tape - 3/4" per Foot | Foot | 0.5 | 1.1 | 1.6 | -- | -- | -- | 0.5 | 2.2 | 2.7 | -- | -- | --
No | SEAL | Recessed Light Cover | Each | 23.1 | 14.3 | 37.4 | -- | -- | -- | 23.1 | 28.1 | 51.2 | -- | -- | --
No | SEAL | Two Part Foam Closed Cell 1" R7 | Sq. Foot | 1.8 | 0.8 | 2.6 | -- | -- | -- | 1.8 | 2 | 3.8 | -- | -- | --
No | SEAL | Two Part Foam Closed Cell 1.5" R11 | Sq. Foot | 2.7 | 1.1 | 3.8 | -- | -- | -- | 2.7 | 2.5 | 5.2 | -- | -- | --
No | SEAL | Two Part Foam Closed Cell 1/2" thck (A.S. Skim Coat) | Sq. Foot | 0.9 | 0.3 | 1.2 | -- | -- | -- | 0.9 | 0.6 | 1.5 | -- | -- | --
No | SEAL | Two Part Foam Closed Cell 2" R14 | Sq. Foot | 3.6 | 1.5 | 5.1 | -- | -- | -- | 3.6 | 3.3 | 6.9 | -- | -- | --
No | SEAL | Two Part Foam Closed Cell 3" R21 | Sq. Foot | 5.4 | 1.9 | 7.3 | -- | -- | -- | 5.4 | 4.2 | 9.6 | -- | -- | --
No | SEAL | Whole House Fan Cover - Large | Each | 43.3 | 60.9 | 104.2 | -- | -- | -- | 43.3 | 115.9 | 159.2 | -- | -- | --
No | STRC | Belly Board - Soft | Sq. Foot | 0.2 | 1.7 | 1.9 | -- | -- | -- | 0.2 | 3.7 | 3.9 | -- | -- | --
No | STRC | Drywall - 1/2" per Sq. Ft. | Sq. Foot | 0.5 | 1.7 | 2.2 | -- | -- | -- | 0.5 | 3.8 | 4.3 | -- | -- | --
No | STRC | Drywall - 3/8" per Sq. Ft. | Sq. Foot | 0.4 | 1.7 | 2.1 | -- | -- | -- | 0.4 | 3.9 | 4.3 | -- | -- | --
No | STRC | Drywall - 5/8" per Sq. Ft. | Sq. Foot | 0.5 | 1.8 | 2.3 | -- | -- | -- | 0.5 | 4 | 4.5 | -- | -- | --
No | STRC | Drywall (Moisture Resistant) - 1/2" per Sq. Ft. | Sq. Foot | 0.5 | 1.7 | 2.2 | -- | -- | -- | 0.5 | 3.9 | 4.4 | -- | -- | --
No | STRC | Drywall (Moisture Resistant) - 5/8" per Sq. Ft. | Sq. Foot | 0.7 | 1.8 | 2.5 | -- | -- | -- | 0.7 | 4 | 4.7 | -- | -- | --
No | STRC | Drywall Joint Compound - 1 gal | Each | 16.6 | 44.8 | 61.4 | -- | -- | -- | 16.6 | 100.2 | 116.8 | -- | -- | --
No | STRC | Drywall Joint Compound - 4.5 gal | Each | 29.9 | 198.8 | 228.7 | -- | -- | -- | 29.9 | 444.6 | 474.5 | -- | -- | --
No | STRC | Drywall Tape | Roll | 5.1 | 175.8 | 180.9 | -- | -- | -- | 5.1 | 353.7 | 358.8 | -- | -- | --
No | WIND | Glass Block Window | Each | 201.3 | 28.1 | 229.4 | -- | -- | -- | 201.3 | 61.5 | 262.8 | -- | -- | --
No | WIND | Glass Block Window Insert | Each | 42.3 | 26.4 | 68.7 | -- | -- | -- | 42.3 | 60.5 | 102.8 | -- | -- | --
No | WIND | Glazing Compound | Each | 16 | 26.9 | 42.9 | -- | -- | -- | 16 | 61 | 77 | -- | -- | --
No | WIND | M.H. Inside Storm Window | United Inch | 2.1 | 3 | 5.1 | -- | -- | -- | 2.1 | 6 | 8.1 | -- | -- | --
No | WIND | M.H. Window Drip Cap | Each | 10.1 | 13.2 | 23.3 | -- | -- | -- | 10.1 | 28.2 | 38.3 | -- | -- | --
No | WIND | M/H Replacement Window - Double-Hung | United Inch | 4.5 | 2.2 | 6.7 | -- | -- | -- | 4.5 | 4.4 | 8.9 | -- | -- | --
No | WIND | M/H Replacement Window - Fixed | United Inch | 7 | 2.3 | 9.3 | -- | -- | -- | 7 | 4.5 | 11.5 | -- | -- | --
No | WIND | M/H Replacement Window - Sliding | United Inch | 7.8 | 2.3 | 10.1 | -- | -- | -- | 7.8 | 4.5 | 12.3 | -- | -- | --
No | WIND | Plexiglass | United Inch | 0.7 | 2.4 | 3.1 | -- | -- | -- | 0.7 | 5.2 | 5.9 | -- | -- | --
No | WIND | Replacement Glass | United Inch | 0.4 | 2.5 | 2.9 | -- | -- | -- | 0.4 | 5.4 | 5.8 | -- | -- | --
No | WIND | Sash Lock - Brass | Each | 7.8 | 16.8 | 24.6 | -- | -- | -- | 7.8 | 34.6 | 42.4 | -- | -- | --
No | WIND | Sash Lock - White | Each | 7.7 | 16.8 | 24.5 | -- | -- | -- | 7.7 | 34.6 | 42.3 | -- | -- | --
No | WIND | Thermopane Replacement | United Inch | 5 | 2.2 | 7.2 | -- | -- | -- | 5 | 4.7 | 9.7 | -- | -- | --
No | WIND | Vinyl Window (Replacement) - Awning | United Inch | 7.7 | 2.7 | 10.4 | -- | -- | -- | 7.7 | 5.1 | 12.8 | -- | -- | --
No | WIND | Vinyl Window (Replacement) - Casement | United Inch | 8.3 | 1.4 | 9.7 | -- | -- | -- | 8.3 | 2.8 | 11.1 | -- | -- | --
No | WIND | Vinyl Window (Replacement) - DH | United Inch | 10.5 | 2.6 | 13.1 | -- | -- | -- | 10.5 | 5 | 15.5 | -- | -- | --
No | WIND | Vinyl Window (Replacement) - Fixed | United Inch | 5 | 2.5 | 7.5 | -- | -- | -- | 5 | 4.8 | 9.8 | -- | -- | --
No | WIND | Vinyl Window (Replacement) - Sliding | United Inch | 7 | 2.3 | 9.3 | -- | -- | -- | 7 | 4.4 | 11.4 | -- | -- | --
No | WIND | Wrap Exterior Trim with Aluminum per Wind | Each | 27.5 | 126.6 | 154.1 | -- | -- | -- | 27.5 | 262.7 | 290.2 | -- | -- | --
MEASURES BELOW ARE PRIMARILY CUSTOM OR 'LABOR ONLY' - NOT IN IWx Catalog
No | DOOR | Cut Down Metal/Wood Door | Each - Labor only | -- | 120.9 | -- | -- | -- | -- | -- | 267.5 | -- | -- | -- | --
No | DOOR | Plane & Rehang to Fit Opening | Each - Labor only | -- | 101 | -- | -- | -- | -- | -- | 221.9 | -- | -- | -- | --
No | DOOR | Remove & Reinstall Existing Storm/Security door | Each - Labor only | -- | 88.9 | -- | -- | -- | -- | -- | 190.7 | -- | -- | -- | --
No | HLSF | Contractor Health & Safety / RRP Package | Each | 250 | 0 | 250 | -- | -- | -- | 250 | 0 | 250 | -- | -- | --
No | HLSF | Undercut Door | Each - Labor only | -- | 58.7 | -- | -- | -- | -- | -- | 123.5 | -- | -- | -- | --
No | HVAC | Chimney Clean Out | Each - Labor only | -- | 152.7 | -- | -- | -- | -- | -- | 330.5 | -- | -- | -- | --
No | HVAC | Chimney Stack Patch | Each - Labor only | -- | 43.3 | -- | -- | -- | -- | -- | 94.1 | -- | -- | -- | --
No | INSL | Bandjoist - Remove and Reinstall Drop Ceiling Tile to Install Insulation | Linear Foot | -- | 1.1 | -- | -- | -- | -- | -- | 2.3 | -- | -- | -- | --
No | INSL | Pull Floor Boards for Insulation Under Floor | Linear Foot | -- | 2 | -- | -- | -- | -- | -- | 4.3 | -- | -- | -- | --
No | INSL | Remove Existing Insulation | Square Foot | -- | 0.4 | -- | -- | -- | -- | -- | 0.9 | -- | -- | -- | --
No | INSL | Wall / Ceiling Cut | Each - Labor only | -- | 45.1 | -- | -- | -- | -- | -- | 99 | -- | -- | -- | --
Yes | MISC | Build, Insulate, Insulate and Seal - New Attic Access (R49) | Each | -- | 104.5 | -- | 68.2 | 141 | 209.2 | -- | 216.1 | -- | 68.2 | 296.2 | 364.4
Yes | MISC | Build, Insulate, Insulate and Seal - New Crawl Access | Each | -- | 104.5 | -- | 52.7 | 148.1 | 200.8 | -- | 216.1 | -- | 52.7 | 308.3 | 361
Yes | MISC | Build, Insulate, Insulate and Seal - New Kneewall Access | Each | -- | 104.5 | -- | 61.3 | 154.7 | 216 | -- | 216.1 | -- | 61.3 | 321.6 | 382.9
Yes | MISC | Insulate and Seal - Existing Attic Access (R49) | Each | -- | 34.8 | -- | 68.2 | 95.9 | 164.1 | -- | 72 | -- | 68.2 | 197.2 | 265.4
Yes | MISC | Insulate and Seal - Existing Crawl Access | Each | -- | 34.8 | -- | 60.5 | 110.7 | 171.2 | -- | 72 | -- | 60.5 | 225.1 | 285.6
Yes | MISC | Insulate and Seal - Existing Kneewall Access | Each | -- | 34.8 | -- | 61.3 | 109.6 | 170.9 | -- | 72 | -- | 61.3 | 222.6 | 283.9
Yes | MISC | Insulate and Seal - Existing Pull Down Attic Stairs (R49) | Each | -- | 34.8 | -- | 133.4 | 180.5 | 313.9 | -- | 72 | -- | 133.4 | 368.4 | 501.8
No | Seal | Air Seal Reduction 0001 - 300 CFM | Each - M&L | -- | 251 | -- | -- | -- | -- | -- | 519 | -- | -- | -- | --
No | Seal | Air Seal Reduction 301 - 600 CFM | Each - M&L | -- | 502.1 | -- | -- | -- | -- | -- | 1038 | -- | -- | -- | --
No | Seal | Air Seal Reduction 601 - 900 CFM | Each - M&L | -- | 753.2 | -- | -- | -- | -- | -- | 1557.1 | -- | -- | -- | --
No | Seal | Air Seal Reduction 901 - 1200 CFM | Each - M&L | -- | 1004.2 | -- | -- | -- | -- | -- | 2076.1 | -- | -- | -- | --
No | Seal | Air Seal Reduction 1201 - 1500 CFM | Each - M&L | -- | 1255.2 | -- | -- | -- | -- | -- | 2595.1 | -- | -- | -- | --
No | Seal | Air Seal Reduction 1501 - 1800 CFM | Each - M&L | -- | 1506.3 | -- | -- | -- | -- | -- | 3114.1 | -- | -- | -- | --
No | Seal | Air Seal Reduction 1801 - 2100 CFM | Each - M&L | -- | 1757.4 | -- | -- | -- | -- | -- | 3633.2 | -- | -- | -- | --
No | Seal | Air Seal Reduction 2101 - 2400 CFM | Each - M&L | -- | 2008.4 | -- | -- | -- | -- | -- | 4152.2 | -- | -- | -- | --
No | Seal | Air Seal Reduction 2401 - 2700 CFM | Each - M&L | -- | 2259.4 | -- | -- | -- | -- | -- | 4671.2 | -- | -- | -- | --
No | Seal | Air Seal Reduction 2701 - 3000 CFM | Each - M&L | -- | 2510.4 | -- | -- | -- | -- | -- | 5190.2 | -- | -- | -- | --
No | Seal | Air Seal Reduction 3001 - 3300 CFM | Each - M&L | -- | 2761.5 | -- | -- | -- | -- | -- | 5709.2 | -- | -- | -- | --
No | Seal | Air Seal Reduction 3301 - 3600 CFM | Each - M&L | -- | 3012.6 | -- | -- | -- | -- | -- | 6228.3 | -- | -- | -- | --
No | Seal | Air Seal Reduction 3601 - 3900 CFM | Each - M&L | -- | 3263.6 | -- | -- | -- | -- | -- | 6747.3 | -- | -- | -- | --
No | Seal | Air Seal Reduction 3901 - 4200 CFM | Each - M&L | -- | 3514.6 | -- | -- | -- | -- | -- | 7266.3 | -- | -- | -- | --
No | Seal | Air Seal Reduction 4201 - 4500 CFM | Each - M&L | -- | 3765.7 | -- | -- | -- | -- | -- | 7785.3 | -- | -- | -- | --
No | Seal | Air Seal Reduction 4501 - 4800 CFM | Each - M&L | -- | 4016.8 | -- | -- | -- | -- | -- | 8304.4 | -- | -- | -- | --
No | Seal | Air Seal Reduction 4801 - 5100 CFM | Each - M&L | -- | 4267.8 | -- | -- | -- | -- | -- | 8823.4 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 0001 - 300 CFM | Each - M&L | -- | 233.8 | -- | -- | -- | -- | -- | 483.3 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 301 - 600 CFM | Each - M&L | -- | 467.6 | -- | -- | -- | -- | -- | 966.7 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 601 - 900 CFM | Each - M&L | -- | 701.3 | -- | -- | -- | -- | -- | 1449.9 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 901 - 1200 CFM | Each - M&L | -- | 935.1 | -- | -- | -- | -- | -- | 1933.4 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 1201 - 1500 CFM | Each - M&L | -- | 1168.9 | -- | -- | -- | -- | -- | 2416.6 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 1501 - 1800 CFM | Each - M&L | -- | 1402.7 | -- | -- | -- | -- | -- | 2900 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 1801 - 2100 CFM | Each - M&L | -- | 1636.5 | -- | -- | -- | -- | -- | 3383.3 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 2101 - 2400 CFM | Each - M&L | -- | 1870.2 | -- | -- | -- | -- | -- | 3866.6 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 2401 - 2700 CFM | Each - M&L | -- | 2104 | -- | -- | -- | -- | -- | 4350 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 2701 - 3000 CFM | Each - M&L | -- | 2337.8 | -- | -- | -- | -- | -- | 4833.2 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 3001 - 3300 CFM | Each - M&L | -- | 2571.6 | -- | -- | -- | -- | -- | 5316.6 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 3301 - 3600 CFM | Each - M&L | -- | 2805.4 | -- | -- | -- | -- | -- | 5799.9 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 3601 - 3900 CFM | Each - M&L | -- | 3039.2 | -- | -- | -- | -- | -- | 6283.3 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 3901 - 4200 CFM | Each - M&L | -- | 3272.9 | -- | -- | -- | -- | -- | 6766.6 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 4201 - 4500 CFM | Each - M&L | -- | 3506.8 | -- | -- | -- | -- | -- | 7250 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 4501 - 4800 CFM | Each - M&L | -- | 3740.5 | -- | -- | -- | -- | -- | 7733.3 | -- | -- | -- | --
No | Seal | Air Seal DP-Reduction 4801 - 5100 CFM | Each - M&L | -- | 3974.3 | -- | -- | -- | -- | -- | 8216.5 | -- | -- | -- | --
No | WIND | Remove & Reinstall Security Bars | Each - Labor only | -- | 52.3 | -- | -- | -- | -- | -- | 108 | -- | -- | -- | --
No | WIND | Remove & Reinstall Window Awning | Each - Labor only | -- | 75.4 | -- | -- | -- | -- | -- | 160.9 | -- | -- | -- | --
No | WIND | Remove Old Storm Window | Each - Labor only | -- | 23.3 | -- | -- | -- | -- | -- | 49.2 | -- | -- | -- | --
Note on E4: Rounded to the nearest 10 cents to eliminate half cent rounding issues when splitting a measure 50/50 with utilities.
Note on F4: Rounded to the nearest 10 cents to eliminate half cent rounding issues when splitting a measure 50/50 with utilities.
Note on I4: Rounded to the nearest 10 cents to eliminate half cent rounding issues when splitting a measure 50/50 with utilities.
Note on J4: Rounded to the nearest 10 cents to eliminate half cent rounding issues when splitting a measure 50/50 with utilities.
Note on M4: Rounded to the nearest 10 cents to eliminate half cent rounding issues when splitting a measure 50/50 with utilities.
Note on N4: Rounded to the nearest 10 cents to eliminate half cent rounding issues when splitting a measure 50/50 with utilities.
Note on Q4: Rounded to the nearest 10 cents to eliminate half cent rounding issues when splitting a measure 50/50 with utilities.
Note on R4: Rounded to the nearest 10 cents to eliminate half cent rounding issues when splitting a measure 50/50 with utilities.

## Regional Worker Wage
Worker Classification Wage Reference for Custom Task Development
STANDARD WAGES ACTIVE | N2 | PREVAILING WAGES ACTIVE | N2
Worker Classification | Fully Burdened Rate | Worker Classification | Fully Burdened Rate
Boilermaker | 82.3901 | Boilermaker | 146.3497
Boilermaker Helper | 58.0606 | Boilermaker Helper | 120.0362
Brick mason | 74.4762 | Brick mason | 133.1758
Carpenter | 72.691 | Carpenter | 149.224
Cement mason | 71.382 | Cement mason | 139.8997
Drywall | 73.1001 | Drywall | 140.7551
Drywall Helper | 68.1619 | Drywall Helper | 80.7769
Electrician | 85.6554 | Electrician | 143.561
Insulator | 71.672 | Insulator | 128.1972
Laborer | 58.0606 | Laborer | 120.0362
Pipefitter | 85.6851 | Pipefitter | 141.9527
Plumber | 83.6025 | Plumber | 133.6549
Plumber Helper | 61.7052 | Plumber Helper | 120.0362
Roofer | 69.0093 | Roofer | 117.5383
Roofer Helper | 62.5234 | Roofer Helper | 120.4639
Sheetmetal Worker | 100.9032 | Sheetmetal Worker | 141.7474
Sheetmetal Helper | 65.8705 | Sheetmetal Helper | 120.0362
Steamfitter | 85.3802 | Steamfitter | 141.9527
Steamfitter Helper | 70.3332 | Steamfitter Helper | 127.3417

## New HATCH PKGs
New Hatch Packages
Packages below are provided as examples only. These are general references and may not represent exact components required for every situation. Not all elements are necessary for building a package, and specific components should be included or excluded based on unique needs and objectives of your project or use case.
New Attic Access Hatch Package
Ancillary Components | Material | Labor | Unit | Quantity | TOTAL material | TOTAL Labor | Subtotal (L&M)
Rigid Foam Board Polyiso - 2" Sq Ft | 1.948 | 1.9165 | Sq. Foot | 16 | 31.168 | 30.6634 | 61.8314
Drywall - 1/2" per Sq. Ft. | 0.5208 | 1.6836 | Sq. Foot | 4 | 2.0832 | 6.7342 | 8.8174
Plywood 1/2" CDX - Per Sq. Ft. | 1.338 | 1.5273 | Sq. Foot | 4 | 5.352 | 6.1092 | 11.4612
WxStrip Kit - 1 3/8" PVC Nail Flange | 18.825 | 35.5659 | Set | 1 | 18.825 | 35.5659 | 54.3909
Casing Pre-Primed - 2 1/4" Colonial | 1.0776 | 1.6849 | Foot | 10 | 10.776 | 16.8489 | 27.6249
Wall / Ceiling Cut | -- | 45.0947 | Each - Labor only | 1 | -- | 45.0947 | 45.0947
Ancillary components Total |  |  |  |  | 68.2042 | 141.0165 | 209.2207
| N/A |  |  |  | TOTAL PACKAGE - New Attic Access Hatch
New Hatch Type | Material | Labor | Subtotal |  | Material | Labor | M&L TOTAL
Build, Insulate, Insulate and Seal - New Attic Access (R49) |  |  |  |  | 68.2042 | 141.0165 | 209.2207
New Crawl Space Hatch Package
Ancillary Components | Material | Labor | Unit | Quantity | TOTAL material | TOTAL Labor | Subtotal (L&M)
Rigid Foam Board Polyiso - 2" Sq Ft | 1.948 | 1.9165 | Sq. Foot | 4 | 7.792 | 7.6659 | 15.4579
Plywood 3/4" CDX - Per Sq. Ft. | 1.1328 | 1.7947 | Sq. Foot | 4 | 4.5312 | 7.1786 | 11.7098
Door Hinge Set | 10.7904 | 35.7787 | Set | 1 | 10.7904 | 35.7787 | 46.5691
WxStrip Kit - 1 3/8" PVC Nail Flange | 18.825 | 35.5659 | Set | 1 | 18.825 | 35.5659 | 54.3909
Casing Pre-Primed - 2 1/4" Colonial | 1.0776 | 1.6849 | Foot | 10 | 10.776 | 16.8489 | 27.6249
Wall / Ceiling Cut | -- | 45.0947 | Each - Labor only | 1 | -- | 45.0947 | 45.0947
Ancillary components Total |  |  |  |  | 52.7146 | 148.1328 | 200.8474
TOTAL PACKAGE - New Crawl Space Hatch
New Hatch Type | Material | Labor | Subtotal |  | Material | Labor | M&L TOTAL
Build, Insulate, Insulate and Seal - New Crawl Access |  |  |  |  | 52.7146 | 148.1328 | 200.8474
New Kneewall Hatch Package
Ancillary Components | Material | Labor | Unit | Quantity | TOTAL material | TOTAL Labor | Subtotal (L&M)
Rigid Foam Board Polyiso - 2" Sq Ft | 1.948 | 1.9165 | Sq. Foot | 8 | 15.584 | 15.3317 | 30.9157
Plywood 1/2" CDX - Per Sq. Ft. | 1.338 | 1.5273 | Sq. Foot | 4 | 5.352 | 6.1092 | 11.4612
Door Hinge Set | 10.7904 | 35.7787 | Set | 1 | 10.7904 | 35.7787 | 46.5691
WxStrip Kit - 1 3/8" PVC Nail Flange | 18.825 | 35.5659 | Set | 1 | 18.825 | 35.5659 | 54.3909
Casing Pre-Primed - 2 1/4" Colonial | 1.0776 | 1.6849 | Foot | 10 | 10.776 | 16.8489 | 27.6249
Wall / Ceiling Cut | -- | 45.0947 | Each - Labor only | 1 | -- | 45.0947 | 45.0947
Ancillary components Total |  |  |  |  | 61.3274 | 154.7292 | 216.0566
TOTAL PACKAGE - New Kneewall Hatch
New Hatch Type | Material | Labor | Subtotal |  | Material | Labor | M&L TOTAL
Build, Insulate, Insulate and Seal - New Kneewall Access |  |  |  |  | 61.3274 | 154.7292 | 216.0566
Package Count:
3

## New HATCH PKGs PW
New Hatch Packages
Packages below are provided as examples only. These are general references and may not represent exact components required for every situation. Not all elements are necessary for building a package, and specific components should be included or excluded based on unique needs and objectives of your project or use case.
New Attic Access Hatch Package
Ancillary Components | Material | Labor | Unit | Quantity | TOTAL material | TOTAL Labor | Subtotal (L&M)
Rigid Foam Board Polyiso - 2" Sq Ft | 1.948 | 3.9401 | Sq. Foot | 16 | 31.168 | 63.0412 | 94.2092
Drywall - 1/2" per Sq. Ft. | 0.5208 | 3.805 | Sq. Foot | 4 | 2.0832 | 15.2199 | 17.3031
Plywood 1/2" CDX - Per Sq. Ft. | 1.338 | 3.459 | Sq. Foot | 4 | 5.352 | 13.836 | 19.188
WxStrip Kit - 1 3/8" PVC Nail Flange | 18.825 | 70.6707 | Set | 1 | 18.825 | 70.6707 | 89.4957
Casing Pre-Primed - 2 1/4" Colonial | 1.0776 | 3.4433 | Foot | 10 | 10.776 | 34.4331 | 45.2091
Wall / Ceiling Cut | -- | 99.0041 | Each - Labor only | 1 | -- | 99.0041 | 99.0041
Ancillary components Total |  |  |  |  | 68.2042 | 296.2049 | 364.4091
| N/A |  |  |  | TOTAL PACKAGE - New Attic Access Hatch
New Hatch Type | Material | Labor | Subtotal |  | Material | Labor | M&L TOTAL
Build, Insulate, Insulate and Seal - New Attic Access (R49) |  |  |  |  | 68.2042 | 296.2049 | 364.4091
New Crawl Space Hatch Package
Ancillary Components | Material | Labor | Unit | Quantity | TOTAL material | TOTAL Labor | Subtotal (L&M)
Rigid Foam Board Polyiso - 2" Sq Ft | 1.948 | 3.9401 | Sq. Foot | 4 | 7.792 | 15.7603 | 23.5523
Plywood 3/4" CDX - Per Sq. Ft. | 1.1328 | 4.0709 | Sq. Foot | 4 | 4.5312 | 16.2836 | 20.8148
Door Hinge Set | 10.7904 | 72.1505 | Set | 1 | 10.7904 | 72.1505 | 82.9409
WxStrip Kit - 1 3/8" PVC Nail Flange | 18.825 | 70.6707 | Set | 1 | 18.825 | 70.6707 | 89.4957
Casing Pre-Primed - 2 1/4" Colonial | 1.0776 | 3.4433 | Foot | 10 | 10.776 | 34.4331 | 45.2091
Wall / Ceiling Cut | -- | 99.0041 | Each - Labor only | 1 | -- | 99.0041 | 99.0041
Ancillary components Total |  |  |  |  | 52.7146 | 308.3022 | 361.0168
TOTAL PACKAGE - New Crawl Space Hatch
New Hatch Type | Material | Labor | Subtotal |  | Material | Labor | M&L TOTAL
Build, Insulate, Insulate and Seal - New Crawl Access |  |  |  |  | 52.7146 | 308.3022 | 361.0168
New Kneewall Hatch Package
Ancillary Components | Material | Labor | Unit | Quantity | TOTAL material | TOTAL Labor | Subtotal (L&M)
Rigid Foam Board Polyiso - 2" Sq Ft | 1.948 | 3.9401 | Sq. Foot | 8 | 15.584 | 31.5206 | 47.1046
Plywood 1/2" CDX - Per Sq. Ft. | 1.338 | 3.459 | Sq. Foot | 4 | 5.352 | 13.836 | 19.188
Door Hinge Set | 10.7904 | 72.1505 | Set | 1 | 10.7904 | 72.1505 | 82.9409
WxStrip Kit - 1 3/8" PVC Nail Flange | 18.825 | 70.6707 | Set | 1 | 18.825 | 70.6707 | 89.4957
Casing Pre-Primed - 2 1/4" Colonial | 1.0776 | 3.4433 | Foot | 10 | 10.776 | 34.4331 | 45.2091
Wall / Ceiling Cut | -- | 99.0041 | Each - Labor only | 1 | -- | 99.0041 | 99.0041
Ancillary components Total |  |  |  |  | 61.3274 | 321.615 | 382.9424
TOTAL PACKAGE - New Kneewall Hatch
New Hatch Type | Material | Labor | Subtotal |  | Material | Labor | M&L TOTAL
Build, Insulate, Insulate and Seal - New Kneewall Access |  |  |  |  | 61.3274 | 321.615 | 382.9424
Package Count:
3

## Exist. HATCH PKGs
Existing Hatch Packages
Packages below are provided as examples only. These are general references and may not represent exact components required for every situation. Not all elements are necessary for building a package, and specific components should be included or excluded based on unique needs and objectives of your project or use case.
Insulate and Seal - Existing Attic Access R49
Ancillary Components | Material | Labor | Unit | Quantity | TOTAL material | TOTAL Labor | Subtotal (L&M)
Rigid Foam Board Polyiso - 2" Sq Ft | 1.948 | 1.9165 | Sq. Foot | 16 | 31.168 | 30.6634 | 61.8314
Drywall - 1/2" per Sq. Ft. | 0.5208 | 1.6836 | Sq. Foot | 4 | 2.0832 | 6.7342 | 8.8174
Plywood 1/2" CDX - Per Sq. Ft. | 1.338 | 1.5273 | Sq. Foot | 4 | 5.352 | 6.1092 | 11.4612
WxStrip Kit - 1 3/8" PVC Nail Flange | 18.825 | 35.5659 | Set | 1 | 18.825 | 35.5659 | 54.3909
Casing Pre-Primed - 2 1/4" Colonial | 1.0776 | 1.6849 | Foot | 10 | 10.776 | 16.8489 | 27.6249
Ancillary components Total |  |  |  |  | 68.2042 | 95.9218 | 164.126
TOTAL PACKAGE - Ins. & Seal Existing Hatch
Existing Hatch Type | Material | Labor | Subtotal |  | Material | Labor | M&L TOTAL
Insulate and Seal - Existing Attic Access (R49) |  |  |  |  | 68.2042 | 95.9218 | 164.126
Insulate and Seal - Existing Crawl Access
Ancillary Components | Material | Labor | Unit | Quantity | TOTAL material | TOTAL Labor | Subtotal (L&M)
Rigid Foam Board Polyiso - 2" Sq Ft | 1.948 | 1.9165 | Sq. Foot | 8 | 15.584 | 15.3317 | 30.9157
Plywood 3/4" CDX - Per Sq. Ft. | 1.1328 | 1.7947 | Sq. Foot | 4 | 4.5312 | 7.1786 | 11.7098
Door Hinge Set | 10.7904 | 35.7787 | Set | 1 | 10.7904 | 35.7787 | 46.5691
WxStrip Kit - 1 3/8" PVC Nail Flange | 18.825 | 35.5659 | Set | 1 | 18.825 | 35.5659 | 54.3909
Casing Pre-Primed - 2 1/4" Colonial | 1.0776 | 1.6849 | Foot | 10 | 10.776 | 16.8489 | 27.6249
Ancillary components Total |  |  |  |  | 60.5066 | 110.7039 | 171.2105
TOTAL PACKAGE - Ins. & Seal Crawl Access
Existing Hatch Type | Material | Labor | Subtotal |  | Material | Labor | M&L TOTAL
Insulate and Seal - Existing Crawl Access |  |  |  |  | 60.5066 | 110.7039 | 171.2105
Insulate and Seal - Existing Kneewall Access
Ancillary Components | Material | Labor | Unit | Quantity | TOTAL material | TOTAL Labor | Subtotal (L&M)
Rigid Foam Board Polyiso - 2" Sq Ft | 1.948 | 1.9165 | Sq. Foot | 8 | 15.584 | 15.3317 | 30.9157
Plywood 1/2" CDX - Per Sq. Ft. | 1.338 | 1.5273 | Sq. Foot | 4 | 5.352 | 6.1092 | 11.4612
Door Hinge Set | 10.7904 | 35.7787 | Set | 1 | 10.7904 | 35.7787 | 46.5691
WxStrip Kit - 1 3/8" PVC Nail Flange | 18.825 | 35.5659 | Set | 1 | 18.825 | 35.5659 | 54.3909
Casing Pre-Primed - 2 1/4" Colonial | 1.0776 | 1.6849 | Foot | 10 | 10.776 | 16.8489 | 27.6249
Ancillary components Total |  |  |  |  | 61.3274 | 109.6345 | 170.9619
TOTAL PACKAGE - Ins. & Seal Exist. Kneewall Hatch
Existing Hatch Type | Material | Labor | Subtotal |  | Material | Labor | M&L TOTAL
Insulate and Seal - Existing Kneewall Access |  |  |  |  | 61.3274 | 109.6345 | 170.9619
Insulate and Seal - Existing Pull Down Attic Stairs
Ancillary Components | Material | Labor | Unit | Quantity | TOTAL material | TOTAL Labor | Subtotal (L&M)
Rigid Foam Board Polyiso - 2" Sq Ft | 1.948 | 1.9165 | Sq. Foot | 45 | 87.66 | 86.2409 | 173.9009
Plywood 1/2" CDX - Per Sq. Ft. | 1.338 | 1.5273 | Sq. Foot | 4 | 5.352 | 6.1092 | 11.4612
Door Hinge Set | 10.7904 | 35.7787 | Set | 1 | 10.7904 | 35.7787 | 46.5691
WxStrip Kit - 1 3/8" PVC Nail Flange | 18.825 | 35.5659 | Set | 1 | 18.825 | 35.5659 | 54.3909
Casing Pre-Primed - 2 1/4" Colonial | 1.0776 | 1.6849 | Foot | 10 | 10.776 | 16.8489 | 27.6249
Ancillary components Total |  |  |  |  | 133.4034 | 180.5437 | 313.9471
TOTAL PACKAGE - Ins. & Seal Exist. Pull Down Attic Stairs
Existing Hatch Type | Material | Labor | Subtotal |  | Material | Labor | M&L TOTAL
Insulate and Seal - Existing Pull Down Attic Stairs (R49) |  |  |  |  | 133.4034 | 180.5437 | 313.9471
Package Count:
4
Note on F5: Assumes R12 - R13 per layer
Note on F18: Assumes exterior wall access. 2 layers of R12-13.
Note on F31: Assumes exterior wall access. 2 layers of R12-13.

## Exist. HATCH PKGs PW
Existing Hatch Packages
Packages below are provided as examples only. These are general references and may not represent exact components required for every situation. Not all elements are necessary for building a package, and specific components should be included or excluded based on unique needs and objectives of your project or use case.
Insulate and Seal - Existing Attic Access R49
Ancillary Components | Material | Labor | Unit | Quantity | TOTAL material | TOTAL Labor | Subtotal (L&M)
Rigid Foam Board Polyiso - 2" Sq Ft | 1.948 | 3.9401 | Sq. Foot | 16 | 31.168 | 63.0412 | 94.2092
Drywall - 1/2" per Sq. Ft. | 0.5208 | 3.805 | Sq. Foot | 4 | 2.0832 | 15.2199 | 17.3031
Plywood 1/2" CDX - Per Sq. Ft. | 1.338 | 3.459 | Sq. Foot | 4 | 5.352 | 13.836 | 19.188
WxStrip Kit - 1 3/8" PVC Nail Flange | 18.825 | 70.6707 | Set | 1 | 18.825 | 70.6707 | 89.4957
Casing Pre-Primed - 2 1/4" Colonial | 1.0776 | 3.4433 | Foot | 10 | 10.776 | 34.4331 | 45.2091
Ancillary components Total |  |  |  |  | 68.2042 | 197.2009 | 265.4051
TOTAL PACKAGE - Ins. & Seal Existing Hatch
Existing Hatch Type | Material | Labor | Subtotal |  | Material | Labor | M&L TOTAL
Insulate and Seal - Existing Attic Access (R49) |  |  |  |  | 68.2042 | 197.2009 | 265.4051
Insulate and Seal - Existing Crawl Access
Ancillary Components | Material | Labor | Unit | Quantity | TOTAL material | TOTAL Labor | Subtotal (L&M)
Rigid Foam Board Polyiso - 2" Sq Ft | 1.948 | 3.9401 | Sq. Foot | 8 | 15.584 | 31.5206 | 47.1046
Plywood 3/4" CDX - Per Sq. Ft. | 1.1328 | 4.0709 | Sq. Foot | 4 | 4.5312 | 16.2836 | 20.8148
Door Hinge Set | 10.7904 | 72.1505 | Set | 1 | 10.7904 | 72.1505 | 82.9409
WxStrip Kit - 1 3/8" PVC Nail Flange | 18.825 | 70.6707 | Set | 1 | 18.825 | 70.6707 | 89.4957
Casing Pre-Primed - 2 1/4" Colonial | 1.0776 | 3.4433 | Foot | 10 | 10.776 | 34.4331 | 45.2091
Ancillary components Total |  |  |  |  | 60.5066 | 225.0585 | 285.5651
TOTAL PACKAGE - Ins. & Seal Crawl Access
Existing Hatch Type | Material | Labor | Subtotal |  | Material | Labor | M&L TOTAL
Insulate and Seal - Existing Crawl Access |  |  |  |  | 60.5066 | 225.0585 | 285.5651
Insulate and Seal - Existing Kneewall Access
Ancillary Components | Material | Labor | Unit | Quantity | TOTAL material | TOTAL Labor | Subtotal (L&M)
Rigid Foam Board Polyiso - 2" Sq Ft | 1.948 | 3.9401 | Sq. Foot | 8 | 15.584 | 31.5206 | 47.1046
Plywood 1/2" CDX - Per Sq. Ft. | 1.338 | 3.459 | Sq. Foot | 4 | 5.352 | 13.836 | 19.188
Door Hinge Set | 10.7904 | 72.1505 | Set | 1 | 10.7904 | 72.1505 | 82.9409
WxStrip Kit - 1 3/8" PVC Nail Flange | 18.825 | 70.6707 | Set | 1 | 18.825 | 70.6707 | 89.4957
Casing Pre-Primed - 2 1/4" Colonial | 1.0776 | 3.4433 | Foot | 10 | 10.776 | 34.4331 | 45.2091
Ancillary components Total |  |  |  |  | 61.3274 | 222.6109 | 283.9383
TOTAL PACKAGE - Ins. & Seal Exist. Kneewall Hatch
Existing Hatch Type | Material | Labor | Subtotal |  | Material | Labor | M&L TOTAL
Insulate and Seal - Existing Kneewall Access |  |  |  |  | 61.3274 | 222.6109 | 283.9383
Insulate and Seal - Existing Pull Down Attic Stairs
Ancillary Components | Material | Labor | Unit | Quantity | TOTAL material | TOTAL Labor | Subtotal (L&M)
Rigid Foam Board Polyiso - 2" Sq Ft | 1.948 | 3.9401 | Sq. Foot | 45 | 87.66 | 177.3034 | 264.9634
Plywood 1/2" CDX - Per Sq. Ft. | 1.338 | 3.459 | Sq. Foot | 4 | 5.352 | 13.836 | 19.188
Door Hinge Set | 10.7904 | 72.1505 | Set | 1 | 10.7904 | 72.1505 | 82.9409
WxStrip Kit - 1 3/8" PVC Nail Flange | 18.825 | 70.6707 | Set | 1 | 18.825 | 70.6707 | 89.4957
Casing Pre-Primed - 2 1/4" Colonial | 1.0776 | 3.4433 | Foot | 10 | 10.776 | 34.4331 | 45.2091
Ancillary components Total |  |  |  |  | 133.4034 | 368.3937 | 501.7971
TOTAL PACKAGE - Ins. & Seal Exist. Pull Down Attic Stairs
Existing Hatch Type | Material | Labor | Subtotal |  | Material | Labor | M&L TOTAL
Insulate and Seal - Existing Pull Down Attic Stairs (R49) |  |  |  |  | 133.4034 | 368.3937 | 501.7971
Package Count:
4
Note on F5: Assumes R12 - R13 per layer
Note on F18: Assumes exterior wall access. 2 layers of R12-13.
Note on F31: Assumes exterior wall access. 2 layers of R12-13.